Addenda: E-Mails sent at July 6, 2026 Water Quality Meeting

From: Joan Rodriguez <jblue406@aol.com>

To: Alicia H. West <awest@dep.nyc.gov>; Victoria Sacks <sacks.victoria@epa.gov>

CC:  WQ?

Sent: Monday, July 6, 2026 at 07:47:17 PM EDT

Subject: What is the plan once the CSO tanks go live?

We know CSO's will impact the delicate ecosystem the community is trying to rebuild in and around the Gowanus Canal.  Even when the CSO tanks go live, CSO's will continue to be released into the Gowanus Canal.

What will the City do if the tanks are insufficient to maintain the current SC status of the Canal?

How much sedimentation will the City allow?

At what locations?

What is the trigger for the City to re-dredge?

Does the City have a re-dredging plan?

If re-dredging is required, how will the City prevent damage to the current remedy/cap?

What methods, monitoring/verification, approvals, enforcement and repair/notification steps would apply if cap disturbance occurs?

Is there a long-term control plan for the CSO tanks?  Has it been updated to address the current SC classification of the waters of the Gowanus Canal?  Does the LTCP address any of the questions above?

If the LTCP does address the questions above, at some future date could you give a presentation on these issues at a General CAG meeting?

From: Joan Rodriguez <jblue406@aol.com>

To: Heidi M. Dudek <heidi.dudek@dec.ny.gov>; Gorton Lisa A (DEC) <lisa.gorton@dec.ny.gov>; Scarlett E. McLaughlin <scarlett.mclaughlin@health.ny.gov>; Alicia H. West <awest@dep.nyc.gov>

cc:  WQ?

Sent: Monday, July 6, 2026 at 07:48:31 PM EDT

Subject: Flood water testing kits for Gowanus residents' basements

Gowanus residents have been subjected to consistent basement flooding.  In light of the migration of toxins from the various upland sites in the Gowanus area, the CAG's Water Quality Committee has asked whether residents/businesses can be provided with a practical way to check basement floodwater for contamination (kits or an agency-supported sampling option)?  If kits aren’t recommended, what alternative is feasible?

Joan Salome-Rodriguez, Esq.

Moderator, CAG Water Quality Committee

From: Joan Rodriguez <jblue406@aol.com>

To: Alicia H. West <awest@dep.nyc.gov>

cc:  WQ?

Sent: Monday, July 6, 2026 at 07:56:09 PM EDT

Subject: Bond-Lorraine Sewer Plan

At two recent Gowanus community meetings the issue of the Bond-Lorraine Sewer came up.  I was told at the Gowanus Oversight Task Force Meeting that there is currently NO funding for replacement of the Bond-Lorraine Sewer in the City's budget.  The CAG Water Quality Committee seeks information regarding the City's plan to replace the Bond-Lorraine Sewer including, but not limited to:

From where will the funding for sealing & replacement of the Bond-Lorraine sewer be found?

The Gowanus Community Advisory Group was informed at a CAG General Meeting that EPA believed developers were funding the work on Bond-Lorraine.

If that is so, are developers sealing the old sewer AND building the new one?  To what extent is this envisioned to be DEP contracted work as opposed to developer work?

Has DEP has provided specs to the Department of Design and Construction to put this work out to bid?

What is the anticipated time line for completion of:

sealing of the current Bond-Lorraine sewer and

construction of a new sewer assuming the old Bond-Lorraine sewer will be replaced (in the same place or elsewhere)?

If it will be replaced elsewhere, where exactly?

From: Joan Rodriguez <jblue406@aol.com>

To: Alicia H. West <awest@dep.nyc.gov>

Cc: WQ?

Sent: Monday, July 6, 2026 at 08:04:01 PM EDT

Subject: Real time monitoring of Gowanus Canal Waters

In light of the recent court decision requiring DEP to report out CSO events (Matter of Riverkeeper v. New York City Dept. of Envtl. Protection, 2026 NY Slip Op 03444, 2d Dept), the Gowanus Water Quality Committee would like an assurance that these reports will be made available to the public in the very near future.  Please share information as to where we can access this data specifically for the Gowanus Canal.  (See requirements set forth below.)

We would like DEP to deploy monitors along the canal/outfalls (storm-event focused) and publish results (e.g., open data/dashboard) with public health context, including, but not limited to, at the Bond Street and 22nd Street Outflows.

In addition, the waters of the Gowanus should be monitored daily for enterococcus bacteria levels and O2 levels as the current SC designation for the waters of the canal demand at least a level 3 rating.

REQUIREMENTS PER THE COURT'S DECISION

The same notification shall also be provided within the same timeframe to the general public . . . through appropriate electronic media, including, but not limited to, electronic mail or voice communication as determined by" the New York State Department of Environmental Conservation (hereinafter DEC) (ECL 17-0826-a[2]). The required information to be distributed, "to the extent knowable with existing systems and models," includes "the volume and treated state of the discharge," "the date and time of the discharge," "the expected duration of the discharge," "a brief description of the steps being taken to contain the discharge except for wet weather combined sewer overflow discharges," "the location of the discharge, with the maximum level of specificity possible," and "the reason for the discharge" (id. § 17-0826-a[1][a]-[f]). SPRTKA further provides that DEC "shall promulgate rules and regulations that are necessary for the implementation of this section" (id. § 17-0826-a[4]).

Pursuant to 6 NYCRR 750-2.7(b)(2)(ii)(b), "[a]s soon as possible, but no later than four hours from discovery of the discharge, owners and operators of [publicly owned treatment works] and [publicly owned sewer systems] must notify the general public of untreated or partially treated sewage discharges, including combined sewer overflows, to waters of the State except underground waters, through appropriate electronic media as determined by [DEC]." The reports shall, "at a minimum, include to the extent knowable with existing systems and models," among other things, "the date and time of discovery of the discharge and a brief description of the reason for the discharge," "the location of the discharge including the receiving water effected by the discharge," "the estimated volume and treated state (untreated or partially treated) of the discharge at the time of the report," and "the expected duration of the discharge and the total expected volume of the discharge" (id. § 750-2.7[b][2][i][a]-[c], [e]).

From: Joan Rodriguez <jblue406@aol.com>

To: Aaron Fischer <aaron.fischer@dec.ny.gov>

Cc: WQ?

Sent: Monday, July 6, 2026 at 08:09:06 PM EDT

Subject: Gowanus CAG inquiry - ETA on Holistic Ground Water Survey

Good Day, Aaron:

I am following up on the series of emails wherein the CAG was seeking for DEC to perform a holistic ground water survey.  You responded that it was in progress and was only evaluating groundwater flow, direction and levels.  For what purpose was DEC performing this study and when can we expect it to be completed?

Thanks,

Joan Salome-Rodriguez

CAG Water Quality Committee